Fire Warden Action Card

| Area/Floor: |  |
| --- | --- |

UPON HEARING THE FIRE ALARM:

- Put on the fire warden vest

- Instruct everyone to commence evacuation of the area via the nearest safe route and to proceed away from the building to a safe location: “Disperse, Don’t Gather”

- Appoint staff to:

- Check all rooms/areas, including toilets, to ensure everyone evacuates and report back to you

- Turn off any equipment, appliances or systems that if left unattended could cause a fire e.g. toasters, microwaves etc.… if it is safe to do so,

- Assist anyone who may require assistance

- Check all fire/smoke doors are closed when leaving your area and that no one returns

- Report to the building warden at the main fire panel and advise if your area is clear or if people remain

- The main fire panel is located:

- Assist with crowd control or other duties as directed

- Do not re-enter if the alarm stops sounding. Only allow people to re-enter when you receive authorisation from the Building Warden or Fire & Emergency NZ (FENZ)