# Emergency Response Plan Template

Instructions: The parts of this document highlighted in yellow are for you to either edit, or take the action. Delete the action instructions once you’ve completed the template, then it is ready to print off

| # Lab: |  | # ERP version date |  |
| --- | --- | --- | --- |
| Document owner: | Person who will update this plan | Last ERP drill date |  |

Purpose: To outline procedures for responding to reasonably foreseeable emergencies involving hazardous substances at this workplace.

# Emergency Scenarios

The following are reasonably foreseeable emergencies involving hazardous chemicals in this space (remove any that are not applicable)

☐ Hazardous chemical spills

☐ Fires involving hazardous substances

☐ Exposure to hazardous chemicals

☐ Gas leak

# Roles and Responsibilities

List each person responsible for emergency actions:

| Name | Role | Contact Info | Assigned Actions | Training required |
| --- | --- | --- | --- | --- |

# Other Emergency Contacts

| Contact | Number |
| --- | --- |
| Fire and Emergency NZ | 1-111 (from internal phone) 111 (from mobile) |
| University Security (Emergency assistance) | Ext 966 (from internal phone) 0800 373 7750 (free phone) |
| Poisons Information Centre | 1-0800 764 766 (from internal phone) 0800 764 766 (from mobile) |

# Resources and Attachments

Safety Data Sheets (SDS) are available through GoldFFX in the University Library Database.

A full inventory of chemicals may be exported from SciTrack if required.

Include with this ERP:

- Hazard floor plan

- Map showing purpose and location of emergency equipment (e.g., spill kits, fire extinguishers).

- Records of drills of the Emergency Response plan. These must be kept for at least two years. Use the ERP Drill Checklist which can be found in the Emergency Response Plan Guidance document.

## Chemical Spills

### Major spills

A Major Spill poses an immediate risk to personnel e.g. large release of toxic or flammable substances, risk of explosion/fire.

In the event of a major spill involving a hazardous substance where safety of personnel is at risk:

- Evacuate the immediate area by calling out to by calling out to others and activating lab spill/evacuation buttons where installed

- Call for assistance from capable personnel. (For example Chemical Owner, Lab Managers, technical staff)

- Extinguish any ignition sources if the chemical is flammable and it is safe to do so

- Identify the substance. through the use of signs, labels or SciTrack barcode. Retrieve the safety data sheet (available via Gold FFX) and note the safety requirements

- Capable personnel, wearing appropriate personal protective clothing and equipment, may attempt to contain any further spill (seal off the container, drop absorbent material on the spill, and/or put barriers around the perimeter and over drains)

- If the spill cannot be safely contained and it affects people or the environment, call Fire and Emergency NZ (FENZ) on 111 and have the following information ready:

Exact location of spill

Substance involved in spill

Quantity of spilled material

Size of spill in square metres

- Assign a person, preferably the Laboratory Manager, to meet FENZ and inform the building warden

- Evacuate the building if required

- Comply with FENZ instructions

## Chemical Spills

### Minor spills

In the event of a spill which can be contained and cleaned up with little risk to personnel:

- Ensure immediate area is cleared, and any ignition sources extinguished if the spilled chemical is flammable

- Call for assistance

- Identify the substance if possible through the use of signs, labels or SciTrack barcode. Retrieve the safety data sheet avilable via Gold FFX and note the safety requirements

- Wear appropriate personal protective clothing and equipment

- If safe to do so, stop the source (e.g., plug the leak, shut off valves, put solvent containers into flammables cabinets)

- If the chemical is corrosive, consider neutralising it or use a spill kit designed for that particular class of chemical

- Use disposable cleaning equipment or spill kit

- Contain the spill to protect the environment. Use drip trays and absorbent material in spill kit to stop the spread and block off access to drains

- Wipe spill toward the centre and use damp cloths to pick up broken glass

- Notify the Lab Manager/supervisor

## Chemical Fire

### Major fire

- Warn people nearby - Shout Fire! Fire! Fire!

- Activate the nearest fire alarm call point

- If safe, turn off any electrical equipment which could cause a fire if left unattended

- Leave by the nearest safe route, assisting others if necessary

- Do not stop to collect belongings

- Close fire/smoke doors behind you

- Do not use lifts

- Report to the assembly point

- Call 111 for Fire and Emergency NZ (FENZ) and report the details of the fire including the location and nature of the fire, any specific hazards in the area, and whether there are casualties.

- Do not return to the building until authorised, NOT when the alarm stops.

- Follow the instructions of all wardens and emergency services

Laboratory Managers or Persons in Charge MUST be on hand to answer any questions asked by Emergency Services.

Extinguishers should only be used by trained staff, if it is safe to do so.

## Chemical Fire

### Minor fire in laboratory or workshop setting

This section only applies to minor fires such as may occur in a laboratory that may be easily extinguished.

- Warn people nearby and shout for assistance

- Where applicable, remove any source of heat and/or fuel that are contributing to the fire. For example, turn off heating elements, Bunsen burners, or flammable gas lines.

- If possible, attempt to smother the fire, e.g., cover the top of a reaction vessel with a piece of glassware or use a wet towel or fire blanket.

- If the fire cannot be quickly extinguished, follow the steps for Major Fire.

## Chemical exposure

Follow these instructions if someone has been exposed to hazardous chemicals.

### Chemicals in the eyes

- As soon as possible, using clean cool water wash the eyes from near the nose outwards, not forgetting to wash under eyelids for 20 minutes. Ensure to irrigate for 20 minutes (or more) in case of contact with alkali chemicals, as these can cause serious damage even without much pain. Use an eye wash station where available

- Ask someone to check the chemical safety data sheet for further advice (available via Gold FFX)

- Seek medical attention

- Notify the Lab Manager/supervisor

### Chemical burns

- Brush off dry chemicals

- Flush liquids from the skin with cool running water for at least 15 20 minutes. Use a safety shower where available

- Remove any contaminated clothing

- Consult Safety Data Sheets for guidance on dealing with exposure to the specific chemical(s) (available via Gold FFX)

- Wrap skin exposed to the chemical with a dry sterile dressing or clean cloth, protected from pressure and friction

- Watch for symptoms of shock: feeling faint, pale or breathing irregularly

- Seek medical attention

- Notify the Lab Manager/supervisor

## Chemical exposure

### Chemical inhalation

- Leave the area and get fresh air

- Consult the safety data sheet for advice (available via Gold FFX)

- Seek medical attention for serious or persistent symptoms

- Notify the Lab Manager/supervisor

### Chemical ingestion

- Call the Poisons Information Centre for advice on 0800 764 766

- Do not try to vomit or ingest fluids unless advised by the Poisons

- Information Centre or a medical professional

- Notify the Lab Manager/supervisor

## Post-event actions

Post-event

- Ensure personal wellbeing.

- Decontaminate yourself and others, including clothing.

- Monitor for after-effects.

- Administer/obtain medical care.

- Submit an incident report

### Dispose of contaminated materials

- Seal in plastic bags or containers all items used from spill kits and any other contaminated products. Take the bags/containers to an authorised disposals point complete with a hazardous waste declaration that identifies the materials

- Contact an authorised waste contractor to remove the waste

- Restock and review

- Re-stock spill kit

- Assess reasons for incident and implement corrective response as soon as practicable

- If Fire and Emergency NZ was called, retain a copy of the fire crew’s incident report