Building Warden Action Card

| Building: |  |
| --- | --- |

UPON HEARING THE FIRE ALARM:

- Proceed to the main entrance, collect the building warden vest and the evacuation checklist/board

- Go to the fire panel and receive the floor warden reports.

- The fire panel is located:

- Ensure Fire & Emergency have been called (you may delegate this).

- Our address is:

- The nearest intersecting street is:

- Ensure Security is called: Ext: 85000 or 0800 373 7550

- Appoint the wardens to direct occupants to the assembly point and assist with crowd control

- The assembly point is:

- Liaise with Fire & Emergency upon their arrival, advising them of the evacuation status, including the location of any persons still in the building

If applicable:

- Hazard Plans are located:

- Hazardous substances inventories available via SciTrack

- Safety data sheets are available via Gold FFX